## F 7.1
True up Form D 7.1
Distribution Losses
Name of Distribution Licensee |  |  |  |  | Jodhpur Vidyut Vitran Nigam Limited
Licensed Area of Supply |  |  |  |  | Jodhpur
Year |  |  |  |  | FY 2023-24
Circle | Voltage Level | No of Feeders* | Feeders metered* | Energy Input | Energy Input | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total AT&C Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 0.12
Jodhpur CC | 11 kV | 432 | 432 | 2133.3009 | 1853.9043 | 1630.3613 | 472.1367 | 25.47% | NA | NA | NA | 11.6759 | 10 | 0.41
Jodhpur DC | 11 kV | 2864 | 2859 | 6777.4735 | 7919.9721 | 5179.6397 | 1499.973 | 18.94% | NA | NA | NA | 34.8552 |  | 0.11
Pali | 11 kV | 967 | 967 | 2290.0251 | 1901.2697 | 1750.1367 | 506.8225 | 26.66% | NA | NA | NA | 8.3529
Sirohi | 11 kV | 445 | 441 | 1568.2942 | 1297.8508 | 1198.5585 | 347.0908 | 26.74% | NA | NA | NA | 7.8477
Jalore | 11 kV | 1374 | 1374 | 3188.196 | 2821.5716 | 2436.5579 | 705.6033 | 25.01% | NA | NA | NA | 11.7934
Barmer | 11 kV | 1470 | 1429 | 3627.9411 | 3195.2597 | 2772.6302 | 802.9266 | 25.13% | NA | NA | NA | 12.9146
Jaisalmer | 11 kV | 694 | 693 | 1583.2467 | 1522.2378 | 1209.9859 | 350.4001 | 23.02% | NA | NA | NA | 20.3196
Bikaner CC | 11 kV | 0 | 0 | 0 | 0 | 0 | 0 | 0% | NA | NA | NA
Bikaner DC | 11 kV | 1923 | 1871 | 5214.2004 | 6025.8836 | 3984.9185 | 1153.9934 | 19.15% | NA | NA | NA | 33.368
Hanumangarh | 11 kV | 812 | 812 | 2150.8876 | 1823.1345 | 1643.8017 | 476.0289 | 26.11% | NA | NA | NA | 8.2499
Sri Ganganagar | 11 kV | 727 | 727 | 2100.8569 | 1954.6107 | 1605.5661 | 464.9563 | 23.79% | NA | NA | NA | 18.4388
Churu | 11 kV | 1029 | 1029 | 2990.776 | 3171.4949 | 2285.681 | 661.9108 | 20.87% | NA | NA | NA | 27
D.F. Bikaner |  |  | 0 | 1189.2415 | 908.87 | 908.87 | 263.1999 | 0% | NA | NA | NA
Jodhpur Discom |  | 12737 | 12634 | 34814.44 | 34814.44 | 26606.7076 | 7705.0423 | 22.13% | NA | NA | NA